COOLFLEX

Protective, Reflective Roof Coating

For Modified Bitumen Roof Membranes

Part 1 –	General

  - Product Description

    - COOLFLEX is a white, elastomeric, protective, reflective roof coating intended for use over existing roofs.

  - Substrate Requirements

    - Substrate shall be structurally sound and supported, continuous, flat and plumb.

    - Substrate shall be clean, dry, free of cracks or loose material, free of degradation, and free of any deleterious material such as oil, efflorescence, paint, mildew, chalk, dust and dirt which could negatively affect bonding.

    - Substrate shall be modified bitumen membrane in good and working condition.

  - Performance Requirements

    - Top coat shall have a Solar Reflectance Index (SRI) equal to or greater than 78.

    - Top coat shall be an Energy Star qualified product.

  - Quality Assurance

    - Coating shall be installed by a competent, knowledgeable, experienced contractor in accordance with these specifications.

  - Delivery, Storage & Handling

    - All materials shall be delivered to the jobsite in the original, unopened packaging with labels clearly identifying the product.

    - All materials shall be inspected upon delivery. Any defective or frozen materials shall not be used.

    - All materials shall be stored off the ground, and protected from precipitation and direct sunlight.

    - All materials shall be delivered and stored at temperatures above 4oC (40oF) and below 40oC (104oF).

  - Site Conditions

    - All drains, openings, curbs, flashings, etc. shall be in accordance with code and manufacturer requirements.

    - Surface and ambient conditions for application of materials shall be above 7oC (45oF) and shall remain so for a minimum of 24 hours and until all work has dried. Drying may require more than 24 hours under humid conditions or at low temperatures.

    - Materials shall not be applied in direct sunlight at temperatures exceeding 30oC (86oF), or when the substrate temperature exceeds 40oC (104oF).

    - All work shall be protected from rain, snow, hail, and wind exceeding 25 km/hr (15 mph) until it has dried.

  - Warranty

    - COOLFLEX is eligible for a limited manufacturer’s warranty starting from the date of substantial completion. A formal warranty request shall be submitted to DuROCK upon completion of the work.

    - DuROCK’s warranty is effective only when materials are paid for in full, and the workmanship complies with this specification.

    - Substitution of materials shall void the manufacturer’s warranty.

Part 2 – Materials

  - General

    - All materials shall be supplied by DuROCK Alfacing International Limited, or it’s appointed distributors.

  - Materials

    - COOLFLEX Top Coat shall be mixed to a uniform consistency by a medium duty power-drill (400 – 500 RPM) with stainless steel or corrosion-resistant paddle-mixing-blades prior to application. Water and other additives shall not be used. Discard any material that has become stiff or hard.

Part 3 – 	Execution

  - General

    - Deficiencies in the substrate shall be rectified prior to commencing the work of this section.

    - The work of this section shall be co-coordinated with the work of other related sections.

    - The work of other sections shall be protected to ensure the work of this section does not stain or otherwise damage them.

  - Primer coat

    - Primer coat shall be applied using high pile roller or spray equipment.

    - A continuous, uniform coat of primer coat shall be applied to membrane seams at a minimum wet thickness of 0.50 mm (20 mils). Primer shall lap a minimum of 50 mm (2 inches) on either side of the seam.

    - Primer shall be allowed to dry for 6 to 8 hours before application of the top coat.

  - Top Coat

    - Top coat shall be applied in two coats using high pile roller or spray equipment.

    - A continuous, uniform coat shall be applied to the substrate at a minimum wet thickness of 0.50 mm (20 mils). The first coat shall be allowed to dry for 6 to 8 hours before application of the second coat.

    - A second continuous, uniform coat shall be applied at a minimum wet thickness of 0.50 mm (20 mils) perpendicular to the first coat, and allowed to dry for 6 to 8 hours.

    - Leftover materials and debris shall be removed from the jobsite.

End of Specification

This is a guide specification only. DuROCK Alfacing International Limited assumes no liability, expressed or implied, as to the architecture, engineering or workmanship of any project. The information contained herein is provided in good faith and subject to change. Go to www.DuROCK.com for the most up-to-date version.